METALCO MFG., INC.

700 West 20th Street

# Hialeah, Fl 33010

# 305 592-0704   Fax 305-805-2299

|  | TG-18 Air Handler Base 22”Depth, 16” To 26”Wide, 18”High |
| --- | --- |

|  | TG-25 Air Handler Base 22”Depth, 16” To 26”Wide, 24”High |
| --- | --- |

|  | TG-36 Air Handler Base 22”Depth, 16” To 26”Wide, 36”High |
| --- | --- |

|  | Wall Rack For Air Handler Unit 24”Depth, 20” To 28” Wide, For 16” AHU & Up |
| --- | --- |

|  | Wall Rack For Air Handler Unit 30”Depth, 27” To 36” Wide, For 22” AHU & Up |
| --- | --- |

|  | TG-SP And WR-SP Must Call For Price: (Specialty Item’s) Made To Size |
| --- | --- |